{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["Hárok1","Hárok2","Hárok3"],"not_rendered":{"charts":0,"images":23,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Hárok1","index":0,"n_rows":109,"n_cols":16,"rows_kept":109,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["NEREZ - komponenty Veľkoobchodný cenník",{"$nulls":11},"\"€\" bez DPH   hr.0,6mm"]
[]
[null,"položka",null,"o80","o100","o115","o120","o130","o140","o150","o160","o180","o200","o225","o250","o300"]
[null,"dymovod 1000mm",null,18.01,19.45,20.17,20.89,20.89,21.36,22.3,24.49,26.66,29.54,32.41,36.02,43.22]
[null,"dymovod 500mm",null,10.08,12.97,12.97,13.69,13.69,14.41,14.41,15.85,17.29,17.29,19.45,21.61,23.05]
[null,"dymovod 250mm",null,6.49,9.37,9.37,10.08,10.08,10.08,10.08,11.53,12.24,12.97,13.69,14.41,16.57]
[null,"čistiaci diel 210x140",null,18.73,18.73,18.73,19.45,20.17,20.89,21.61,22.33,23.77,27.37,28.82,32.41,38.18]
[null,"čistiaci diel 300x150",null,24.5,24.5,24.5,24.5,25.21,25.93,26.66,28.09,29.54,33.86,36.02,40.34,47.51]
[null,"T-kus 87° d=108mm",null,27.37,27.37,27.37,29.54,30.98,33.86,35.29,37.45,44.66,46.82,50.42,54.75,59.79]
[null,"T-kus 45°",null,43.22,45.38,48.26,51.14,53.3,56.19,59.07,61.23,67.71,69.15,77.08,79.24,92.2]
[null,"strieška",null,12.97,12.97,12.97,13.69,14.41,14.41,14.41,15.13,15.13,15.13,16.57,18.01,20.89]
[null,"koleno 15°",null,7.92,7.92,7.92,8.65,9.37,10.08,10.08,11.53,12.24,14.41,17.29,20.17,30.25]
[null,"koleno 30°",null,7.92,7.92,7.92,8.62,9.37,10.08,10.08,11.53,12.24,14.41,17.29,20.17,30.25]
[null,"koleno 45°",null,7.92,7.92,7.92,8.65,9.37,10.08,10.08,11.53,12.24,14.41,17.29,20.17,30.25]
[null,"koleno 90°",null,14.41,15.85,15.85,17.29,18.01,18.73,20.17,22.33,28.09,36.02,40.34,48.98,60.5]
[null,"koleno 90° s čist.otv.",null,23.05,24.5,24.5,25.93,26.66,27.37,28.82,30.98,36.74,44.66,48.98,57.62,76.35]
[null,"koleno otočné 0-30°",null,null,null,10.81,11.53,12.24,12.97,12.97,18.73,22.33,25.93,31.7,33.13,41.11]
[null,"koleno otočné 0-45°",null,null,null,10.81,11.53,12.24,12.97,12.97,21.61,25.21,29.54,33.86,37.45,44.66]
[null,"koleno otočné 0-90°",null,null,null,12.97,12.97,12.97,13.69,13.69,32.41,40.34,43.22,47.54,51.87,59.07]
[null,"kol.otoč.0-90°s čis.o.",null,null,null,14.41,14.41,14.41,18.02,14.41,36.02,43.94,47.54,49.71,51.87,59.07]
[null,"posuvný prvok",null,30.98,30.98,30.98,30.98,32.41,33.86,34.58,37.45,40.34,43.94,46.82,48.98,64.11]
[null,"320-480mm"]
[null,"univerz.kónicka ",null,12.24,12.24,12.24,12.24,12.97,12.97,12.97,12.97,14.41,14.41,15.13,15.85,17.29]
[null,"prípojka"]
[null,"prípojka kotla",null,8.65,8.65,8.65,8.65,8.65,8.65,9.37,9.37,10.08,10.81,11.53,12.24,12.97]
[null,"prípojka kotla konus",null,10.08,10.08,10.08,10.81,10.81,10.81,11.53,11.53,12.24,12.97,12.97,14.41,15.13]
[null,"konden.miska bočná",null,16.02,16.76,16.76,17.48,17.48,17.48,18.22,18.22,18.94,20.4,21.86,23.32,24.78]
[]
[]
[null,"distnčná objímka",null,5.82,6.56,7.28,7.28,8.02,8.02,8.74,8.74,8.74,8.74,8.74,9.48,9.48]
[]
[null,"kryt hlavice s golier.",null,16.02,16.76,16.76,17.48,18.22,19.68,21.12,23.32,26.22,29.14,30.6,32.78,35.7]
[null,"prechodová prípojka",null,24.78,27.68,27.68,29.14,32.06,33.52,35.7,36.43,37.88,43.72,45.9,48.08,56.1]
[null,"excentrická"]
[]
[null,"golier",null,8.74,8.74,10.2,10.2,10.2,10.2,10.2,10.2,12.38,13.12,13.12,13.12,13.12]
[]
[null,"upevňovacia objímka",null,3.64,3.64,3.64,3.64,3.64,3.64,4.38,4.38,4.38,5.1,5.82,7.28,8.02]
[]
[null,"kom.dvierka nerez"]
[null,"210x140mm",null,16.76,16.76,16.76,16.76,16.76,16.76,16.76,16.76,16.76,16.76,16.76,16.76,16.76]
[null,"300x150mm",null,25.5,25.5,25.5,25.5,25.5,25.5,25.5,25.5,25.5,25.5,25.5,25.5,25.5]
[null,"čist.prvok so skrinkou"]
[null,"210x140mm",null,33.52,33.52,33.52,34.24,34.24,34.98,35.7,37.16,38.62,42.26,42.98,46.63,52.46]
[null,"300x150mm",null,42.26,42.26,42.26,42.98,42.98,43.72,44.44,45.9,48.08,52.46,53.92,58.28,65.58]
[null,"prechodka do steny",null,9.48,9.48,9.48,10.2,10.92,10.64,10.64,12.38,13.12,13.12,15.3,16.02,18.22]
[null,"nerez dvojitá"]
[]
[]
[]
["Všetky komponenty je možné dodať na objednávku v sile materiálu 1mm."]
["Pri požiadavke iného tovaru , ktorý nie je v tejto ponuke nás kontaktujte."]
[]
[]
[]
[{"$nulls":4},"Veľkoobchodný cenník  bez DPH    \"€\""]
{"$rows_empty":7}
[{"$nulls":7},"Rozšírenie"]
[null,null,"bez  DPH",null," r o z š í r e n i e   z"]
[null,null,"         na",80,100,115,120,130,140,150,160,180,200,225,250,300]
[null,null,100,17.29]
[null,null,115,25.93]
[null,null,120,null,18.73]
[null,null,130,null,null,19.45]
[null,null,140,null,null,null,19.45]
[null,null,150,{"$nulls":4},20.17]
[null,null,160,{"$nulls":5},22.33]
[null,null,170,{"$nulls":6},24.5]
[null,null,180,{"$nulls":6},43.22,24.5]
[null,null,200,{"$nulls":7},51.14,24.5]
[null,null,220,{"$nulls":9},27.37]
[null,null,225,{"$nulls":8},55.46]
[null,null,250,{"$nulls":9},59.79,64.11]
[null,null,300,{"$nulls":11},68.43]
[]
[]
[]
[{"$nulls":7},"Redukcia"]
[null,null,"bez DPH",null,"r e d u k c i a   z"]
[null,null,"         na",80,100,115,120,130,140,150,160,180,200,225,250,300]
[null,null,60]
[null,null,80]
[null,null,100,null,null,18.01,18.73,27.37]
[null,null,110,{"$nulls":4},19.45]
[null,null,115,{"$nulls":5},27.37]
[null,null,120,{"$nulls":5},19.45,28.82]
[null,null,130,{"$nulls":6},20.17,30.25]
[null,null,140,{"$nulls":7},22.33,46.82]
[null,null,160,{"$nulls":8},24.5,51.14]
[null,null,180,{"$nulls":9},24.5,55.46]
[null,null,200,{"$nulls":11},59.79]
[null,null,250,{"$nulls":12},68.43]
[null,null,300]
[]
["KONTAKTY:"]
[]
[]
[]
["Tuma invest spol. s r.o., Partizánska 300/32, Bánovce nad Bebravou 95701"]
["e-mail.:tumainvest@gmail.com",{"$nulls":5},"www.krby-tuma.sk"]
["tel.:0905 394055, 0918 995337",{"$nulls":5},"www.kominy-tuma.sk"]
["tel.:046 5431611",{"$nulls":5},"www.edilkamin-slovakia.sk"]
["fax.:046 5461611",{"$nulls":5},"www.hoyan.sk"]

{"sheet":"Hárok2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Hárok3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}